# SECTION 07420

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section includes metal composite material panel and attachment systems.

        - The extent of metal composite material panel system work is indicated on the drawings and within these specifications.

        - Panel system requirements include the following components:  metal composite material faced panel mounting system to include anchorages, shims, fasteners, sealants, integral flashing for a complete installation.

      - PREINSTALLATION MEETINGS

        - Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

If needed, insert list of conference participants not mentioned in Section 131000 "Project Management and Coordination."

Retain subparagraphs below if additional requirements are necessary; revise to include more specific information about conference.

          - Meet with General Contractor, Architect, and Owner’s insurer (if applicable), metal composite material panel Installer, structural-support Installer, and installers whose work interfaces with or affects metal composite material panels, including installers of doors, windows, and louvers.

          - Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

          - Review methods and procedures related to metal composite material panel installation.

          - Examine support conditions for compliance with requirements, including alignment between and attachment to structural members.

          - Review flashings, special siding details, wall penetrations, openings, and condition of other construction that affect metal composite material panels.

          - Review governing regulations and requirements for insurance, certificates, and tests and inspections (if applicable).

          - Review temporary protection requirements for metal composite material panel assembly during and after installation.

          - Review procedures for repair of panels damaged after installation.

          - Document proceedings, including corrective measures and actions required, and furnish copy of record to each participant.

      - ACTION SUBMITTALS

        - Product Data:

          - Provide metal composite material manufactures literature including material descriptions, sample warranties, LEEDS information and report indicating the product finish meets the AAMA 2605.

          - Provide panel manufacturer’s ICC-ES listing report for the panels to be supplied.

        - Shop Drawings:

          - Submit shop drawings showing metal composite panel layout, elevations, wall sections, details, fastening and anchoring methods, detail of edge condition’s, location of joints, sealants, including joints necessary to accommodate thermal movement, trim, flashing and accessories.

        - Samples for Verification: For each type and color of composite metal panel indicated, provide minimum of 3 sets, 3 inch by 3inch sample of each color selected

        - System Test Report: Copy of metal composite material panel system report by a qualified testing agency exhibiting the system provided meets the performance requirements as specified under part 2, performance requirements.

        - Installer Certifications:

          - Provide written statements on panel system fabricator’s letterhead certifying the Installer complies with requirements to install Fabricator’s wall panel system.

          - Installer must provide list of projects they have completed similar to scope and size to this project. Include name of project, current street address and date of installation.

        - Sample Warranties: For warranties for metal composite material panels.

      - CLOSEOUT SUBMITTALS

        - Maintenance Data: For metal composite material panels to include in maintenance manuals and manufacturer warranty.

      - QUALITY ASSURANCE

        - Installer Qualifications: An entity that employs installers and supervisors who are trained and approved by composite panel manufacturer.

        - Mockups: Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

          - Build mockup of typical metal composite material panel assembly [as shown on Drawings] including supports, attachments, and accessories.

          - Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

          - Subject to compliance with requirements, approved mockups may become part of the completed work if undisturbed at time of substantial completion.

      - DELIVERY, STORAGE, AND HANDLING

        - Deliver components, metal composite material panels, and other manufactured items so as not to be damaged or deformed. Package metal composite material panels for protection during transportation and handling.

        - Unload, store, and erect metal composite material panels in a manner to prevent bending, warping, twisting, and surface damage.

        - Stack metal composite material panels horizontally on platforms or pallets, covered with suitable weathertight and ventilated covering. Store metal composite material panels to ensure dryness, with positive slope for drainage of water. Do not store metal composite material panels in contact with other materials that might cause staining, denting, or other surface damage.

        - Retain strippable protective covering on metal composite material panels during installation.

      - FIELD CONDITIONS

        - Weather Limitations: Proceed with installation only when existing and forecasted weather conditions permit assembly of metal composite material panels to be performed according to manufacturers' written instructions and warranty requirements.

      - COORDINATION

        - Coordinate metal composite material panel installation with rain drainage work, flashing, trim, construction of soffits, and other adjoining work to provide a leak-proof, secure, and noncorrosive installation.

      - WARRANTY

        - Special Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace components of metal composite material panel systems that fail in materials or workmanship within specified warranty period.

          - Failures include, but are not limited to, the following:

            - Structural failures including rupturing, cracking, or puncturing.

            - Deterioration of metals and other materials beyond normal weathering.

          - Warranty Period: 2 years from date of Substantial Completion.

        - Special Warranty on Panel Finishes: Manufacturer's standard form in which manufacturer agrees to repair finish or replace metal composite material panels that show evidence of deterioration of factory-applied finishes within specified warranty period.

          - Exposed Panel Finish: Deterioration includes, but is not limited to, the following:

            - Color fading more than 5 Hunter units when tested according to ASTM D 2244.

            - Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

            - Cracking, checking, peeling, or failure of paint to adhere to bare metal.

          - Finish Warranty Period: 20 years from date of Substantial Completion.

          - Panel Structural Warranty: Manufactures standard warranty from delamination shall be 10 years from date of material shipment to fabricator.

- PRODUCTS

      - PERFORMANCE REQUIREMENTS

      - Structural Performance: Provide metal composite material panel systems capable of withstanding the effects of the following loads, based on testing according to ASTM E 330

          - Wind Loads: As indicated on drawings.

          - Other design loads: As indicated on drawings.

          - Deflection limits: For wind loads no greater than l/175 for frame elements and L/60 for panel materials.

        - Air Infiltration: Air leakage of not more than 0.06 cfm/ft2 (complete chamber) when tested according to ASTM E 283 at the following test pressure difference.

          - Test Pressure Difference: 1.57 psf positive air pressure difference.

        - Water Penetration under static pressure: No water penetration under static pressure at 15.0 psf when tested according to ASTM E 331 at a test pressure difference 6.24 lb/sq ft

        - Fire-Resistance Ratings: Comply with ASTM E 84 if a rated wall is required; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

          - Indicate design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

        - Fire Propagation Characteristics: Metal composite material wall panel systems with 4mmFR Alpolic passes NFPA 285 testing. 4mmPE Alpolic is certified to Class A usage under ASTM-E-84.

      - METAL COMPOSITE MATERIAL WALL PANELS

        - Metal Composite Material Wall Panel Systems: Provide factory-formed and -assembled, metal composite material wall panels fabricated from two metal facings that are bonded to a solid, extruded thermoplastic core; formed into profile for installation method indicated. Include attachment assembly components, panel stiffeners, and accessories required for weathertight system.

          - Basis-of-Design Product: Subject to compliance with requirements, provide one of the following:

            - Alpolic: Mitsubishi Plastics Composites America, Inc

        - Specified Metal Composite Panel SYSTEM Fabricator:

          - Alumawall Inc, San Jose, CA alumawall.com (408) 292-6353

          - Panel SYSTEM specified: Alumawall 1400 series “Silicone Seal”

        - Aluminum-Faced Composite Wall Panels Formed with 0.020-inch- thick, coil coated aluminum sheet facings.

          - Panel Thickness: 4mm (0.157 inch)

          - Core: Thermoplastic Core Material (FR) or (PE)

          - Exterior Finish: [Two-coat FEVE fluoropolymer] [Three-coat FEVE fluoropolymer] [Mica FEVE fluoropolymer] [Metallic FEVE fluoropolymer] [FEVE fluoropolymer] [Clear anodized] [Color anodized]

            - Color: As selected by Architect from manufacturer's full range.

        - Attachment Assembly Components: Formed from extruded aluminum.

      - MISCELLANEOUS MATERIALS

        - Miscellaneous Metal Subframing and Furring: ASTM C 645, cold-formed, metallic-coated steel sheet ASTM A 653/A 653M, G90 (Z275 hot-dip galvanized) coating designation or ASTM A 792/A 792M, Class AZ50 (Class AZM150) aluminum-zinc-alloy coating designation unless otherwise indicated. Provide manufacturer's standard sections as required for support and alignment of metal composite material panel system.

        - Panel Accessories: Provide components required for a complete “rain screen” panel system including trim, copings, sills, flashings, sealants and similar items. Match material and finish of metal composite material panels unless otherwise indicated.

        - Flashing and Trim: Provide flashing and trim formed to match finish of metal composite material panels as required to seal against weather and to provide finished appearance. Locations include, but are not limited to, bases, drips, sills, jambs, corners, endwalls, framed openings, rakes, fasciae, parapet caps, soffits, reveals, and fillers. Finish flashing and trim with same finish system as adjacent metal composite material panels.

        - Panel Fasteners: Self-tapping screws designed to withstand design loads. Provide exposed fasteners with heads matching color of metal composite material panels.

        - Panel Sealants: ASTM C 920; elastomeric polyurethane or silicone sealant; of type, grade, class, and use classifications required to seal joints in metal composite material panels and remain weathertight; and as recommended in writing by metal composite material panel manufacturer.

      - FABRICATION

        - General: Fabricate and finish metal composite material panels and accessories at the factory, by manufacturer's standard procedures and processes, as necessary to fulfill indicated performance requirements demonstrated by laboratory testing. Comply with indicated profiles and with dimensional and structural requirements.

        - Fabricate metal composite material panel joints with factory-installed captive or separator splines that provide a water controlled seal and prevent metal-to-metal contact, and that minimize noise from movements.

        - Sheet Metal Flashing and Trim: Fabricate flashing and trim to comply with manufacturer's recommendations and recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of item indicated.

          - Form exposed sheet metal accessories that are without excessive oil canning, buckling, and tool marks and that are true to line and levels indicated, with exposed edges folded back to form hems.

          - Sealed Joints: Form non-expansion, but movable, joints in metal to accommodate sealant and to comply with SMACNA standards.

          - Conceal fasteners and expansion provisions where possible. Exposed fasteners are to be finished to match panels when exposed to view.

          - Fabricate cleats and attachment devices from same material as accessory being anchored or from compatible, noncorrosive metal recommended in writing by metal panel manufacturer.

            - Size: As recommended by SMACNA's "Architectural Sheet Metal Manual" or metal wall panel manufacturer for application but not less than thickness of metal being secured.

      - FINISHES

        - Protect mechanical and painted finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

        - Appearance of Finished Work: Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples. Noticeable variations in same piece are not acceptable. Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

        - Aluminum Panels and Accessories:

          - Two-Coat FEVE Fluoropolymer: AAMA 2605. Fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' containing 100 percent fluorinated ethylene vinyl ether resin written instructions.

          - Three-Coat Fluoropolymer: AAMA 620. FEVE Fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in both color coat and clear topcoat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

          - Mica Fluoropolymer: AAMA 2605. Two-coat FEVE fluoropolymer finish with suspended mica flakes containing 100 percent fluorinated ethylene vinyl ether resin in containing 100 percent fluorinated ethylene vinyl ether resin color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

          - Metallic Fluoropolymer: AAMA 2605. Three-coat FEVE fluoropolymer finish with suspended metallic flakes containing 100 percent fluorinated ethylene vinyl ether resin in containing 100 percent fluorinated ethylene vinyl ether resin in both color coat and clear topcoat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

          - FEVE Fluoropolymer: AAMA 2605. Two-coat FEVE fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

          - Exposed Anodized Finish:

            - Clear Anodic Finish: AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class I, 0.010 mm] or thicker.

- EXECUTION

      - EXAMINATION

        - Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, metal composite material panel supports, and other conditions affecting performance of the Work.

          - Examine wall sheathing to verify that sheathing joints are supported by framing or blocking and that installation is within flatness tolerances required by metal composite material wall panel manufacturer.

            - Verify that air- or water-resistive barriers have been installed over sheathing or backing substrate to prevent air infiltration or water penetration.

        - Examine roughing-in for components and assemblies penetrating metal composite material panels to verify actual locations of penetrations relative to seam locations of metal composite material panels before installation.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - PREPARATION

        - Miscellaneous Supports: Install subframing, furring, and other miscellaneous panel support members and anchorages according to ASTM C 754 and metal composite material panel manufacturer's written recommendations.

      - METAL COMPOSITE MATERIAL PANEL INSTALLATION

        - General: Install metal composite material panels according to manufacturer's written instructions in orientation, sizes, and locations indicated on Drawings. Install panels perpendicular to supports unless otherwise indicated. Anchor metal composite material panels and other components of the work securely in place, with provisions for thermal and structural movement.

          - Shim or otherwise plumb substrates receiving metal composite material panels.

          - Flash and seal metal composite material panels at perimeter of all openings. Fasten with self-tapping screws. Do not begin installation until air- or water-resistive barriers and flashings that will be concealed by metal composite material panels are installed.

          - Install screw fasteners in predrilled holes unless self-drilling fasteners are used.

          - Locate and space fastenings in uniform vertical and horizontal alignment.

          - Install flashing and trim as metal composite material panel work proceeds.

          - Locate panel splices over, but not attached to, structural supports. Stagger panel splices and end laps to avoid a four-panel lap splice condition.

          - Align bottoms of metal composite material panels and fasten with blind rivets, bolts, or self-tapping screws. Fasten flashings and trim around openings and similar elements with self-tapping screws.

          - Provide weathertight escutcheons for pipe- and conduit-penetrating panels.

        - Fasteners:

          - Aluminum Panels: Use approved drill flex coated or stainless-steel fasteners for surfaces exposed to the exterior and for surfaces exposed to the interior.

          - Copper Panels: Use copper, stainless-steel or hardware-bronze fasteners.

        - Metal Protection: Where dissimilar metals contact each other or corrosive substrates, protect against galvanic action as recommended in writing by metal composite material panel manufacturer.

        - Attachment Assembly, General: Install attachment assembly required to support metal composite material wall panels and to provide a complete watertight wall system, including subgirts, perimeter extrusions, and anchor channels.

          - Include attachment to supports, panel-to-panel joinery, panel-to-dissimilar-material joinery, and panel-system joint seals.

        - Installation: Attach metal composite material wall panels to supports at locations, spacings, and with fasteners recommended by manufacturer to achieve performance requirements specified.

          - Alumawall 1400 series silicone seal system: Install using systems standard assembly with vertical and horizontal continuous channels and flashings that provides support and secondary drainage at each panel and the base of the wall.  Install all starter tracks and flashings prior to installing panels. Install panels plumb and level in accordance with approved panel system shop drawings. Apply sealants to joints unless otherwise indicated.

        - Accessory Installation: Install accessories with positive anchorage to building and weathertight mounting, and provide for thermal expansion. Coordinate installation with flashings and other components.

          - Install components required for a complete metal composite material panel assembly including trim, copings, flashings, sealants and similar items. Provide types indicated by metal composite material panel manufacturer; or, if not indicated, provide types recommended in writing by metal composite material panel manufacturer.

        - Flashing and Trim: Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual." Provide concealed fasteners where possible, and set units true to line and level as indicated.

          - Install exposed flashing and trim that is without buckling and tool marks and that is true to line and levels indicated.  Install sheet metal flashing and trim to fit substrates and to result in waterproof performance.

          - Expansion Provisions: Provide for thermal expansion of exposed flashing and trim. Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (605 mm) of corner or intersection. Where lapped expansion provisions cannot be used or would not be sufficiently waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with mastic sealant (concealed within joints).

      - ERECTION TOLERANCES

        - Installation Tolerances: Shim and align metal composite material wall panel units within installed tolerance of 1/4 inch in 20 feet (6 mm in 6 m), non-accumulative, on level, plumb, and location lines as indicated, and within 1/8-inch (3-mm) offset of adjoining faces and of alignment of matching profiles.

      - FIELD QUALITY CONTROL

        - Testing Agency: a qualified independent testing agency to perform field tests and inspections.

        - Water-Spray Test: After installation, test area of assembly [shown on Drawings] [as directed by Architect] for water penetration according to AAMA 501.2.

        - Additional tests and inspections, at Contractor's expense, are performed to determine compliance of replaced or additional work with specified requirements.

        - Prepare test and inspection reports.

      - CLEANING AND PROTECTION

        - Remove temporary protective coverings and strippable films, if any, as metal composite material panels are installed, unless otherwise indicated in manufacturer's written installation instructions. On completion of metal composite material panel installation, clean finished surfaces as recommended by metal composite material panel manufacturer. Maintain in a clean condition during construction.

        - After metal composite material panel installation, clear weep holes and drainage channels of obstructions, dirt, and sealant.

        - Replace metal composite material panels that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

END OF SECTION 074213.23